## Tektronix Supported Printers

#### For the MSO4000, MSO3000, MSO2000, DPO4000, DPO3000, DPO2000, TDS3000C, TDS3000B, TDS3000, TDS2000B, TDS2000, TDS1000B, TDS1000 and TDS200 Series oscilloscopes

- Supported Printers

- Supported Data Formats

- Supported Data Interfaces

- General Information

- Supported Printers for Discontinued Series

- Supported Data Formats for Discontinued Series

- Supported Data Interfaces for Discontinued Series

#### Supported Printers by Oscilloscope Series (*see footnotes for additional information)

| Printer Model/Type | 6DPO3000 6DPO4000 6MSO3000 6MSO4000 Series | 7TDS3000C Series | TPS2000 Series | DPO2000 MSO2000 TDS1000B TDS2000B Series | Interface |
| --- | --- | --- | --- | --- | --- |
| 1Any Manufacturer, Any Model of PictBridge® compatible printers | “PictBridge compatible” | No | No | "PictBridge compatible" | USB (device) |
| Network capable printers All postscript-capable printer attached to a LPD-compatible print server | Yes | Yes | No | No | LAN |
| Brother: HL-630 | No | No | "LaserJet" | No | Centronics |
| Canon Bubble Jet: BJC-50 BJC-80 BJC-4000 | No | No | "Bubble Jet" | No | Centronics |
| Canon Bubble "S": S450 S530 S630 | No | No | "S530/S630" | No | Centronics |
| Epson: RX-802 Stylus 8002 Stylus Color 4402 Stylus Color 6002 | No | No | "Epson Dot Matrix" | No | Centronics |
| Epson: Stylus C60 Stylus C62 | Yes | No | "Epson C60" | No | DPO3000/DPO4000/ MSO3000/MSO4000: USB(host), TPS2000: Centronics |
| Epson: Stylus C80 Stylus C84 | No | No | "Epson C80" | No | Centronics |
| Epson: Stylus C82 | Yes | No | No | No | USB (host) |
| Epson: Stylus C863 | No | No | "Epson C80" | No | Centronics |
| HP Business Inkjet: 910, 915 1000, 1100, 1100d, 1100dtn 1200, 1200d, 1200dtn, 1200dtwn 2200, 2200se, 2200xi, 2230 2250, 2250tn, 2280, 2280tn 2300, 2300dtn, 2300n, 2600 2600dn, 2800, 2800dt, 2800dtn 3000, 3000dtn, 3000n | Yes | No | No | No | USB (host) |
| HP Color Inkjet: CP1160 CP1700, CP1700d, CP1700ps | Yes | No | No | No | USB (host) |
| HP Color Laserjet: 5, 5M 2500L, 2500Lse, 2500n, 2500tn 2550, 2550L, 2550Ln 2605, 2605dn, 2605dtn 2700, 2700n 2800, 2820, 2830, 2840 3000, 3000dn, 3000dtn, 3000n 3500, 3500dn, 3500dtn, 3500n 3550, 3550n 3600, 3600dn, 3600n 3700, 3700n, 3700dtn, 3700dn 3800, 3800dn, 3800dtn, 3800n 4500, 4500dn 4550, 4550dn, 4550hdn, 4550n 4600, 4600dn, 4600dtn, 4600hdn 4600n, 4610, 4650, 4650dn 4650dtn, 4650hdn, 4650n 4700n, 4700dn, 4700dtn 4700n, 4700ph+ 4730mfp, 4730x mfp 4730xm mfp, 4730xs mfp 5500, 5500n, 5550, 5550n 5550dn, 5550dtn, 5550hdn 8500, 8500dn, 8500n, 8550 8550dn, 8550gn, 8550mfp 8550mn 9500, 9500gp, 9500hdn 9500n, 9500mfp CM1015, CM1017 CM4730MFP, CP3505 CM8050MFP, CM8060MFP CP4005, CP4005n, CP4005dn | Yes | No | No | No | USB (host) |
| HP DeskJet: 3820 540 5650 6122 697 840C 895 970Cse | No | No | "Deskjet" | No | Centronics |
| HP DeskJet: 350c, 350cbi 450, 450cbi, 450ci, 450wbt 460c, 460cb, 460wbt, 460wf 630c, 632c, 640c, 640u, 642c 648c, 656c, 690c, 690c Plus 692c, 692k, 693c, 694c, 695c 697c 825c, 825cvr, 845c, 845cvr 895c, 895cse, 895cxi 916c, 920c, 920cw, 920cvr, 920cxi, 930c, 930cm, 932c, 933c 934c, 935c, 940c, 940cvr, 940cw 940cxi, 948c, 950c, 952c, 955c 957c, 959c, 960c, 960cse 960cx9, 970c, 970cse, 970cxi 975c, 975cse, 975cxi, 980c 990c, 990cm, 990cse, 990cxi 995c, 995ck 1220c, 1220cse, 1220cxi, 1280 3320, 3320v, 3323, 3325 3420, 3420v, 3425, 3450 3500, 3520, 3520v, 3520w 3535, 3538, 3550, 3550v, 3558 3600, 3620, 3645, 3647, 3650 3651, 3652, 3653, 3658, 3668 3740, 3743, 3744, 3745, 3745v 3747, 3748 3810, 3816, 3818, 3819, 3820 3820v, 3820w, 3822, 3843 3844, 3845, 3845xi, 3847, 3848 3870 3900, 3910, 3915, 3918, 3920 3930, 3930v, 3938, 3940, 3940v 5100, 5145, 5150, 5150v, 5150w 5151, 5160, 5168 5420v, 5432, 5438, 5440, 5440v 5440xi, 5442, 5443 5550, 5551, 5552 5600, 5650, 5650v, 5650w, 5652 5655 5700, 5740, 5740xi, 5743, 5745 5748 5800, 5850, 5850w 5938, 5940, 5940xi, 5943 6120, 6122, 6127 6500, 6520, 6520xi, 6540 6540d, 6540dt, 6540xi, 6543 6543d, 6548 6600, 6620, 6620xi, 6623, 6628 6800, 6830v, 6840, 6840dt 6840xi, 6843, 6848 6940, 6940dt, 6980, 6980dt 9300 9600, 9650, 9670, 9680, 9680gp 9800, 9800d, 9803, 9803d, 9808 9808d, 9860, 9868 D1311, D1320, D1330, D1341, D1360 D1400 D2320, D2330, D2345, D2360, D2400 D4145, D4155, D4160, D4163, D4200 F300, F340, F370, F375, F380 F2100 F4100 | Yes and underlined models are “PictBridge compatible” | No | No | Underlined models are “PictBridge compatible” | USB (host), For PictBridge - USB (device) |
| HP LaserJet: II 1100 5L 5MP | No | No | "LaserJet" | No | Centronics |
| HP LaserJet: 5MP, 5P, 5si, 5si hm, 5si mx 5si nx 6MP, 6MP se, 6MP xi, 6P 1010, 1012, 1015, 1018, 1020, 1022, 1022n, 1022nw 1150, 1160, 1160Le 1200, 1200se, 1200n, 1220, 1220se 1300, 1300t, 1300n, 1300xi 1320, 1320n, 1320nw, 1320t 1320tn 2100, 2100m, 2100se, 2100tn 2100xi 2200, 2200d, 2200dn, 2200dse 2200dt, 2200dtn 2300, 2300d, 2300dtn, 2300L 2300n, 2300tn 2410, 2420, 2420d, 2420dn 2420n, 2430, 2430dtn, 2430n 2430t, 2430tn 3015, 3020, 3030, 3050, 3052 3055 3200, 3200M, 3200se 3300mfp, 3310, 3320, 3320mfp 3320n mfp, 3330, 3380, 3390 3392 4050, 4050n, 4050se, 4050t 4050tn 4100, 4100dtn, 4100n, 4100tn 4100mfp, 4101mfp, 4150 4200, 4200L, 4200Ln, 4200Lvn 4200dtn, 4200dtns, 4200dtnsL 4200n, 4200tn, 4240, 4240n 4250, 4250dtn, 4250dtnsL 4250n, 4250tn 4300, 4300dtn, 4300dtns 4300dtnsL, 4300n, 4300tn 4345mfp, 4345x mfp 4345xm mfp, 4345xs mfp, 4350 4350dtn, 4350dtnSL, 4350n 4350tn 5000, 5000Le, 5000dn, 5000gn 5000n 5100, 5100dtn, 5100se, 5100tn 5200, 5200n, 5200tn, 5200dtn 5200L 8000, 8000dn, 8000mfp, 8000n 8100, 8100dn, 8100n, 8100mfp 8150, 8150dn, 8150hn, 8150mfp 8150n 9000, 9000dn, 9000hnf 9000hns, 9000mfp, 9000n 9000L mfp, 9040d, 9040dn 9040mfp, 9050, 9050d, 9050dn 9050mfp, 9055mfp, 9065mfp M3027, M3027x, M3035 M3035xs M4345, M4345x, M4345xm M4345xs M5025, M5035, M5035x M5035xs P2010, P2015, P2015d, P2015dn P2015n, P2015x P3004, P3005, P3005d, P3005dtn P3005n, P3005x | Yes | No | No | No | USB (host) |
| HP OfficeJet: 4100, 4105, 4110, 4110v, 4110xi 4115 4200, 4212, 4215, 4215v, 4215xi 4219, 4255 4311, 4312, 4314, 4315, 4315v 4315xi, 4317, 4319, 4352, 4353 4355, 4357, 4359 5100, 5105, 5110, 5110v 5110xi 5505, 5508, 5510, 5510v, 5510xi 5515 5600, 5605, 5608, 5609, 5610 5610v, 5610xi, 5615 6105, 6110, 6110v, 6110xi 6150 6210, 6210v, 6210xi, 6213 6215 6310, 6310xi 7100, 7110, 7110xi, 7115, 7130 7130xi, 7135xi, 7140xi 7210, 7210v, 7210xi, 7213 7310, 7310xi, 7313 7410, 7410xi, 7413 9110, 9120, 9130 d125xi, d135, d135xi, d145 d145xi, d155xi G95 J3600, J5500, J5700 K60, K60xi, K80, K80xi v30, v40, v40S, v40xi, v45 K550, K550dtn, K550dtwn K850, K850dn K5300, K5400, K7100, K8600 L7300, L7500, L7600, L7700 | Yes and underlined models are “PictBridge compatible” | No | No | Underlined models are “PictBridge compatible” | USB (host), For Pictbridge - USB (device) |
| HP Photosmart: P1000 P1115 | No | No | "Deskjet" | No | Centronics |
| HP Photosmart: 100, 130, 130v, 130xi, 140, 145 145v, 145xi, 148 230, 230v, 230xi, 240, 245, 245v 245xi 320, 325, 325v, 325xi, 329 330, 335, 335v, 335xi, 337 370, 375, 375v, 375xi, 375B 375Bxi 385, 385v, 385xi 420, 422, 422v, 422xi, 425, 425v 428, 428v, 428xi 470, 475, 475v, 475xi 2573, 2575, 2575v, 2575xi 2710, 2710xi, 2713 3110, 3110v 3210, 3210a, 3210v, 3210xi 3213, 3214 3308, 3310, 3310xi, 3313, 3314 7150, 7150v, 7155w 7260, 7260v, 7260w, 7268 7350, 7350v 7450, 7450v, 7450xi, 7458 7459 7550, 7550v, 7550w 7660, 7665 7755, 7760, 7760od, 7760v 7760w, 7762 7830, 7838, 7850, 7850v, 7850xi 7853 7960, 7960gp, 7960v, 7960w 8030, 8038, 8049, 8050, 8050v 8050xi, 8053 8150, 8150v, 8150xi, 8153 8158 8230, 8238, 8250, 8250v, 8250xi 8253 8450, 8450gp, 8450v, 8450xi 8453, 8458 8750, 8750gp, 8750xi, 8753 8758 A310 A320 A430, A432, A433, A434, A435 A440 A510, A512, A516 A520 A610, A612, A616, A617 A620 A710, A712, A716, A717 C3110, C3125, C3135, C3140 C3150, C3180, C3183, C3190 C4110, C4140, C4150, C4180 C4183, C4188 C4200 C4380 C5140, C5150, C5180, C5185 C5188 C5200 C6100, C6150, C6180, C6185 C6188 C6200 C7100, C7150, C7180, C7185 C7200 C8100 D5060, D5065, D5069 D5100, D5145, D5155, D5160 D5168 D5300 D6160 D7145, D7155, D7160, D7168 D7200 D7300, D7345, D7355, D7360 D7368 D7200 P1000, P1100 B8300, B8330, B8338, B8350 B8353 | Yes and underlined models are “PictBridge compatible” | No | No | Underlined models are “PictBridge compatible” | USB (host), For Pictbridge - USB (device) |
| HP PSC All-in-one Series: 720, 750, 750xi, 760 950, 950vr, 950xi 1110, 1110v, 1118 1200, 1205, 1209, 1210, 1210v 1210xi, 1215, 1216, 1217, 1219 1300, 1310, 1311, 1317, 1318 1401, 1402, 1410, 1410v, 1410xi 1417 1503, 1504, 1507, 1508, 1510 1510v, 1510xi, 1513, 1513s 1600, 1610, 1610xi, 1613 2105, 2108, 2110, 2115, 2150 2170, 2171, 2175, 2175v, 2175xi 2179 2200, 2210, 2210v, 2210xi 2350, 2353, 2355, 2355p, 2355v 2355xi 2400, 2410, 2410v, 2410xi 2500, 2510, 2510xi, 2550 | Yes and underlined models are “PictBridge compatible” | No | No | Underlined models are “PictBridge compatible” | USB (host), For Pictbridge - USB (device) |
| HP: Thinkjet | No | No | "ThinkJet" | No | Centronics |
| HP Others: 1100d | No | No | "Deskjet" | No | Centronics |
| HP Others: Mopier 240/320 | Yes | No | No |  | USB (host) |
| Panasonic: KX-P1124 KX-P1180 | No | No | "Epson Dot Matrix" | No | Centronics |
| Samsung: ML-1250 | No | No | "LaserJet" | No | Centronics |
| Seiko: DPU-411 | No | No | "DPU411" | No | Centronics, RS232 |
| Seiko: DPU-412 | No | No | "DPU412" | No | Centronics, RS232 |
| Seiko: DPU-41444 | No | No | "DPU411" | No | Centronics, RS232 |
| Seiko DPU-34455 | No | No | "DPU3445" | No | RS232 |
| Tektronix: HC-200 | No | No | "Epson Dot Matrix" | No | Centronics |

1PictBridge compatible Notes:
For an official list printer models certified by CIPA (Camera and Imaging Association) please see: http://www.cipa.jp/pictbridge/CertifiedModels/PictBridgeCertifiedModels_E.html. This list is subject to change and does not list all PictBridge compatible printer models.  – Note: HP Color Laserjet CP1518ni is not compatible with the TDS1000B/TDS2000B series.

2RX-80, Stylus 800, Stylus Color 440, Stylus Color 600 Notes:
The driver used by each scope family renders black and white hardcopies, only.

3C86 Notes:
This printer has not been fully qualified by Tektronix. Partial testing has verified limited operation for the scope family indicated. Partial testing means that at least one hardcopy was generated with the following scope settings: InkSaver on, Portrait Layout, maximum waveforms are on, Math waveform on, Reference waveforms on, and menu showing Printer Port and Printer Format.

4DPU-414 Notes:
To print out software dip switch settings, press/hold "ON LINE" during power on. To change software dip switch settings choose "ON LINE" (1) or "LINE FEED" (0). Defaults for Parallel operation: Dip SW1: 11101011, Dip SW2: 11111111, Dip SW3: 11110111. Defaults for Serial operation: Dip SW1: 01101011, Dip SW2: 11111111, DipSW3: 11110111. Set RS-232 Oscilloscope settings: Baud = 9600, Flow Control = Hard Flagging, EOL = CR, Parity = None.

5DPU-3445 Notes:
All hardcopies will print in Landscape orientation regardless of format (portrait/landscape) selection.

6DPO3000, DPO4000, MSO3000, MSO4000 Series Notes:
USB (host) port printer support listed here requires Printer Pack 3. Printer pack 3 is available with the newest version of firmware for each series. PictBridge printing via the USB (device) port requires firmware version 1.20 or newer for DPO3000, MSO3000 series and firmware version 2.28 or newer for DPO4000, MSO4000 series. To check if a newer version of firmware is available, go to Tektronix web site: www.tektronix.com/software.

7TDS3000C Series Notes:
Direct printing to Centronic printers supported on the TDS3000B series may be supported on the TDS3000C series with the use of a print server (for example D-Link DP-301P+). Printer support will vary depending print server.

#### Supported Data Formats by Oscilloscope Series

| Data Format | Expanded Mnemonic | DPO2000 MSO2000 DPO3000 DPO4000 MSO4000 Series | TDS3000C Series | TPS2000 Series | TDS1000B TDS2000B Series |
| --- | --- | --- | --- | --- | --- |
| BMP | PC "Bit Map" | ".bmp" | "BMP Mono Windows mono image file format" or "BMP Color Windows color image file format" | "BMP" | "BMP" |
| EPS | Encapsulated Post Script | No | "EPS Mono Encapsulated Postscript mono image" or "EPS Color Encapsulated Postscript color image" | "EPSIMAGE" | "EPSIMAGE" |
| Interleaf | Interleaf | No | "Interleaf .img image object file format" | No | No |
| JPEG | Joint Photographic Experts Group | No | No | No | "JPEG" |
| PCX | PC Paintbrush | No | "PCX Mono PC Paintbrush mono image file format" or "PCX Color PC Paintbrush color image file format" | "PCX" | "PCX" |
| PNG | Portable Network Graphics | ".png" | "PNG Portable Network Graphics" | No | No |
| RLE | Run Length Encoded | No | "RLE Color Windows color image file format" | "RLE" | "RLE" |
| TIFF | Tag Image File Format | ".tif" | "TIFF Tag Image File Format" | "TIFF" | "TIFF" |

#### Supported Data Interfaces by Oscilloscope Series

| Interface, Direct Storage Media, External Display | DPO3000 DPO4000 MSO3000 MSO4000 Series | DPO2000 MSO2000 Series | TDS3000C Series | TPS2000 Series | TDS1000B TDS2000B Series |
| --- | --- | --- | --- | --- | --- |
| USB (device) | Supports: PC communication, PictBridge® printers | Supports: PC communication, PictBridge® printers | No | No | Supports: PC communication, PictBridge® printers |
| USB (host) | Supports: USB printers, USB flash drives | Supports: USB flash drives | Supports: USB flash drives | No | Supports: USB flash drives |
| Ethernet | Standard 10/100 Base-T | Option: DPO2CONN | Standard 10 Base-T | No | No |
| GPIB | Option: TEK-USB-488 | Option: TEK-USB-488 | Option: TDS3GV | No | Option: TEK-USB-488 |
| RS-232 | No | No | Options: TDS3GV TDS3VM | Standard | No |
| CompactFlashTM (Type 1) | Standard | No | No | Standard | No |
| External VGA Monitor | Standard | Option: DPO2CONN | Options: TDS3GV TDS3VM | No | No |
| Centronics Parallel | No | No | No | Standard | No |

#### General Information

The supported printers list is not an exhaustive list.

The capitalization and spelling of the different printers and printer families (noted in quotes, "") are replicated as they appear in the actual oscilloscope family menus.

"Yes" is used if printer support has been verified, but the oscilloscope does not have an explicit list of printer drivers. "No" is used if there is no menu selection that will work with a particular printer for a particular oscilloscope family, or if the printer operation has not been verified.

##### DPO3000, DPO4000, MSO3000, MSO4000 Series Printer Selection:

To set up a USB printer, connect the printer to a USB host port on the rear or front panel of the oscilloscope. Push the front panel "Utility" button.  Then push the "Utility Page" bottom bezel button and turn the multipurpose knob a until "Print Setup" is selected. If you want to change the default printer, push "Select Printer" and turn the multipurpose knob a to scroll through the list of available printers. Push "Select" to choose the desired printer. To add a USB printer to the list, plug the printer into a USB host port. The oscilloscope will automatically recognize it.

To setup a PictBridge printer, connect the printer to the USB device port on the rear of the oscilloscope.  Push the front panel “Utility” button. The push the “Utility Page” bottom bezel button and turn the multipurpose know a until “Print Setup” is selected.  Push “Select Printer” and turn the multipurpose to knob a to scroll through the list of available printers until “PictBridge” is highlighted. Push “Select” to choose this printer.

To set up a networked printer, connect the scope to the network via the rear-panel Ethernet port. Press the front panel "Utility" button and push the "System" bottom bezel button until "Print Setup” is selected. Press the "Select Printer" horizontal bezel button and press the "Add Network Printer" side bezel button. Using the multipurpose knob and the horizontal bezel buttons, specify the printer name, server name, and server IP address.

##### TDS3000C Series Printer Selection:

To select the desired printer for the TDS3000C, press the front panel "Utility" button and push the “System” bottom bezel button to select "Hard Copy", then press the "Format" bezel button. A list of printer menu choices will become visible next to the vertical bezel buttons, including a "more" button which will show you 6 separate menu pages of printer menu and data format choices. Choose the specific printer menu selection from the Supported Printers table.

To setup a networked printer, connect the scope to the network via the rear panel Ethernet port.  Press the front panel “Utility” button and push the “System” bottom bezel button to select “I/O”. Push the “Ethernet Printer Settings” bottom button. Push the “Add Printer” side bezel button. The scope will display the Add Printer screen. Use the Add Printer screen menu items and controls to enter the network printer information. Push the OK Accept side button to store the settings.

##### TDS3000, TDS3000B Series Printer Selection:

To select the desired printer for the TDS3000B/TDS3000, press the front panel "Utility" button push the “System” bottom bezel button to select "Hard Copy", then press the "Format" bezel button. A list of printer menu choices will become visible next to the vertical bezel buttons, including a "more" button which will show you 6 separate menu pages of printer menu and data format choices. Choose the specific printer menu selection from the Supported Printers table.

To setup a networked printer, connect the scope to the network via the rear panel Ethernet port.  Press the front panel “Utility” button and push the “System” bottom bezel button to select “I/O”. Push the “Ethernet Printer Settings” bottom button. Push the “Add Printer” side bezel button. The scope will display the Add Printer screen. Use the Add Printer screen menu items and controls to enter the network printer information. Push the OK Accept side button to store the settings.

##### TPS2000 Series Printer Selection:

The TPS2000 series scopes come with a standard Centronics and RS232 interface. To select the desired printer for the TPS2000 press the front panel "Utility" button followed first by the Options button on the vertical bezel, then press Printer Setup. Press "Printer Port" and "Printer Format" to cycle through all printers and all data formats. Notice that the menu selection, "Print Button" must be set to "Prints". Choose the specific printer menu selection from the Supported Data Interfaces Table.

In addition, this scope family includes a standard Type 1 CompactFlash™ interface. Printer support can be directly expanded by storing screen shots onto the CompactFlash™, then moving the CompactFlash™ to a printer which also accepts the Type 1 CompactFlash™. Tektronix has tested this method with a Hewlett Packard printer which also accepts the Type 1 CompactFlash™. Files need to be saved to CompactFlash™ in TIFF Printer Format for Hewlett Packard printers with Type 1 CompactFlash™ readers to be able to print the file. Notice that the Print menu selection, "Print Button" must be set to "Saves Image To File" or "Saves All To Files" to initiate storage. You may use the similar procedure within the SAVE/RECALL menu under "Save All" or "Save Image". Caution: Within the printer, some information loss may occur due to automatic cropping; if possible, disable automatic cropping.

##### DPO2000, MSO200, TDS2000B, TDS1000B Series Printer Selection:

No printer selection is required on a TDS2000B and TDS1000B series oscilloscope. Simply connect the PictBridge compatible printer into the USB device port on the rear of the instrument.

##### TDS2000, TDS1000 , TDS200 Series Printer Selection:

The instrument must have one of the following Communications Options to be able to print: TDS2MEM, TDS2CMAX, TDS2CMA, TDS2CM, TDS2MM, or TDS2HM. Please see the Supported Data Interfaces table to determine appropriate communications option for your instrument. To select the desired printer for the TDS1000/2000/200 press the front panel "Utility" button followed first by the Options button on the vertical bezel, then press Hardcopy Setup. Now, repeatedly pressing the Format button will cycle through all printers and all data formats. Choose the appropriate printer menu selection from the Supported Data Interfaces table.

The TDS2MEM option includes a standard Type 1 CompactFlash™ interface. Printer support can be directly expanded by storing screen shots onto the CompactFlash™, then moving the CompactFlash™ to a printer which also accepts the Type 1 CompactFlash™. Tektronix has tested this method with a Hewlett Packard printer which also accepts the Type 1 CompactFlash™. Files need to be saved to CompactFlash™ in TIFF Printer Format for Hewlett Packard printers with Type 1 CompactFlash™ readers to be able to print the file. Notice that the Print menu selection, "Print Button" must be set to "Saves Image To File" or "Saves All To Files" to initiate storage. You may use the similar procedure within the SAVE/RECALL menu under "Save All" or "Save Image". Caution: Within the printer, some information loss may occur due to automatic cropping; if possible, disable automatic cropping.

#### Supported Printers by Discontinued Oscilloscope Series (*see footnotes for additional information)

| Printer Model/Type | TDS3000 TDS3000B Series (Replaced by TDS3000C) | TDS1000 TDS2000 Series (Replaced by TDS2000B TDS1000B) | TDS200 Series (Replaced by TDS2000 TDS1000) | Interface |
| --- | --- | --- | --- | --- |
| Brother: HL-630 | "Laserjet Laser printer" | "LaserJet" | "LaserJet" | Centronics |
| Canon Bubble Jet: BJC-50 BJC-80 BJC-4000 | "Bubble Jet Color ink jet printer" | "Bubble Jet" | No | Centronics |
| Canon Bubble "S": S450 S530 S630 | "S530/S630" | "S530/S630" | No | Centronics |
| Epson: RX-801 Stylus 8001 Stylus Color 4401 Stylus Color 6001 | "Epson 9 & 24 pin dot matrix printer" | "Epson Dot Matrix" | "Epson" | Centronics |
| Epson: Stylus C60 Stylus C62 | "Epson C60 Color" 4FWV > 3.26 or "Epson C60 Mono" 4FWV > 3.26 | "Epson C60" 4FWV > 2.12, 4.12 | No | Centronics |
| Epson: Stylus C80 Stylus C84 | "Epson C80 Color" 4FWV > 3.26 or "Epson C80 Mono" 4FWV > 3.26 | "Epson C80" 4FWV > 2.12, 4/12 | No | Centronics |
| HP: Thinkjet | "Thinkjet Ink jet printer" | "ThinkJet" | "ThinkJet" | Centronics |
| HP DeskJet: 3820 540 5650 6122 697 840C 895 970Cse | "Deskjet Hi resolution mono ink jet printer" or "Deskjet Hi resolution color ink jet printer" | "DeskJet" | "DeskJet" | Centronics |
| HP LaserJet: II 1100 5L 5MP | "LaserJet Laser printer" | "LaserJet" | "LaserJet" | Centronics |
| HP Photosmart: P1000 P1115 | "Deskjet Hi resolution mono ink jet printer" or "Deskjet Hi resolution color ink jet printer" | "Deskjet" | "DeskJet" | Centronics |
| HP Others: 1100d | "Deskjet Hi resolution mono ink jet printer" or "Deskjet Hi resolution color ink jet printer" | "Deskjet" | "DeskJet" | Centronics |
| Panasonic: KX-P1124 KX-P1180 | "Epson 9 & 24 pin dot matrix printer" | "Epson Dot Matrix" | "Epson" | Centronics |
| Samsung: ML-1250 | "LaserJet Laser Printer" | "LaserJet" | "LaserJet" | Centronics |
| Seiko: DPU-411 | No | "DPU411" | "DPU411" 4FWV > 1.09 | Centronics, RS232 |
| Seiko: DPU-412 | No | "DPU412" | "DPU412" 4FWV > 1.09 | Centronics, RS232 |
| Seiko: DPU-4142 | No | "DPU411" | "DPU411" 4FWV > 1.09 | Centronics, RS232 |
| Seiko DPU-34453 | "DPU-3445 Thermal printer" | "DPU3445" | No | RS232 |
| Tektronix: TDS3PRT | "Tektronix TDS3PRT Thermal Printer" | No | No | TDS3000 Proprietary |
| Tektronix: HC-200 | "Epson 9 & 24 pin dot matrix printer" | "Epson Dot Matrix" | "Epson" | Centronics |

*

1RX-80, Stylus 800, Stylus Color 440, Stylus Color 600 Notes:
The driver used by each scope family renders black and white hardcopies, only.

2DPU-414 Notes:
To print out software dip switch settings, press/hold "ON LINE" during power on. To change software dip switch settings choose "ON LINE" (1) or "LINE FEED" (0). Defaults for Parallel operation: Dip SW1: 11101011, Dip SW2: 11111111, Dip SW3: 11110111. Defaults for Serial operation: Dip SW1: 01101011, Dip SW2: 11111111, DipSW3: 11110111. Set RS-232 Oscilloscope settings: Baud = 9600, Flow Control = Hard Flagging, EOL = CR, Parity = None.

3DPU-3445 Notes:
All hardcopies will print in Landscape orientation regardless of format (portrait/landscape) selection.

4FWV > Notes:
Printer support for added printers will only function correctly when the oscilloscope's Firmware Version Number (FWV) is equal to or greater than that which is indicated. For example, the Epson C60 printer will only operate on a TDS3054B whose FWV is 3.26 or above.

#### Supported Data Formats by Discontinued Oscilloscope Series

| Data Format | Expanded Mnemonic | TDS3000 TDS3000B Series (Replaced by TDS3000C) | TDS1000 TDS2000 Series (Replaced by TDS2000B TDS1000B) | TDS200 Series (Replaced by TDS2000 TDS1000) |
| --- | --- | --- | --- | --- |
| BMP | PC "Bit Map" | "BMP Mono Windows mono image file format" or "BMP Color Windows color image file format" | "BMP" | "BMP" |
| EPS | Encapsulated Post Script | "EPS Mono Encapsulated Postscript mono image" or "EPS Color Encapsulated Postscript color image" | "EPSIMAGE" | "EPSIMAGE" |
| Interleaf | Interleaf | "Interleaf .img image object file format" | No | "INTERLEAF" |
| JPEG | Joint Photographic Experts Group | No | No | No |
| PCX | PC Paintbrush | "PCX Mono PC Paintbrush mono image file format" or "PCX Color PC Paintbrush color image file format" | "PCX" | "PCX" |
| PNG | Portable Network Graphics | "PNG Portable Network Graphics" | No | No |
| RLE | Run Length Encoded | "RLE Color Windows color image file format" | "RLE" | No |
| TIFF | Tag Image File Format | "TIFF Tag Image File Format" | "TIFF" | No |

#### Supported Data Interfaces by Discontinued Oscilloscope Series

| Interface, Direct Storage Media, External Display | TDS3000B Series (Replaced by TDS3000C) | TDS3000 Series (Replaced by TDS3000B) | TDS1000 TDS2000 Series (Replaced by TDS2000B/TDS1000B) | TDS200 Series (Replaced by TDS2000/TDS1000) |
| --- | --- | --- | --- | --- |
| Ethernet | Standard | Option: TDS3EM 10 Base-T | No | No |
| GPIB | Option: TDS3GV | Option: TDS3GV | Option: TDS2CMA TDS2CMAX | Options: TDS2CM TDS2CMA |
| RS-232 | Options: TDS3GV TDS3VM | Options: TDS3GV TDS3VM TDS3EM | Option: TDS2CMA TDS2CMAX TDS2MEM | Options: TDS2CM TDS2CMA |
| CompactFlashTM (Type 1) | No | No | Option: TDS2MEM | No |
| Floppy Drive | Standard | Standard | No | No |
| External VGA Monitor | Options: TDS3GV TDS3VM | Options: TDS3VM TDS3GV | No | No |
| Centronics Parallel | Standard | Standard | Option: TDS2CMA TDS2CMAX TDS2MEM | Options: TDS2CM TDS2MM TDS2HM TDS2CMA |

# Text boxes

This information is current as of June, 2009. For the most up-to-date list of information, please visit:

www.tektronix.com/products/oscilloscopes/supported_printers.pdf